## Summary
Summary | [7 empty] | Displacement
| Data# | Linear gauge [um] | ONOSOKKI [um] | OC ( LP ) [um] | OC (no LP) [um] | OC (Ave. LP) [um] | OC (time diff.) [sec] |  |  | Data# | Linear gauge [um] | ONOSOKKI [um] | OC ( LP ) [um] | OC (no LP) [um] | OC(Ave. LP) [um] | OC (time diff.) [sec]
Ave. |  | 0 | -0.28701 | 85.9044 | 95.625 | 95.61 | 0.0021626 |  | Ave. |  | 0 | ––– | ––– | ––– |  | –––
STD |  |  | 0.10094 | 2.2433 | 1.2148 | 0.34028 | 1.0519e-05 |  | STD |  |  | ––– | ––– | ––– |  | –––
Ave. |  | 10 | 9.4245 | 106.5021 | 105.6944 | 105.8344 | 0.0023842 |  | Ave. |  | 10 | 9.7115 | 20.5977 | 10.0694 | 10.2244 | 0.00022154
STD |  |  | 0.048605 | 0.33577 | 1.8865 | 0.44671 | 4.9279e-06 |  | STD |  |  | 0.11203 | 2.2683 | 2.2438 | 0.56155 | 1.1616e-05
Ave. |  | 20 | 19.4923 | 105.3268 | 116.75 | 116.182 | 0.0026149 |  | Ave. |  | 20 | 19.7794 | 19.4224 | 21.125 | 20.572 | 0.00045224
STD |  |  | 0.060164 | 1.4081 | 1.4252 | 0.41506 | 7.0336e-06 |  | STD |  |  | 0.11751 | 2.6486 | 1.8727 | 0.53671 | 1.2654e-05
Ave. |  | 30 | 29.4391 | 111.1677 | 125 | 125.6292 | 0.0028413 |  | Ave. |  | 30 | 29.7261 | 25.2633 | 29.375 | 30.0193 | 0.00067869
STD |  |  | 0.109 | 2.2533 | 1.7678 | 0.2329 | 2.5298e-06 |  | STD |  |  | 0.14855 | 3.1796 | 2.1449 | 0.41235 | 2.5298e-06
Ave. |  | 40 | 39.3451 | 133.274 | 135 | 136.339 | 0.0030696 |  | Ave. |  | 40 | 39.6321 | 47.3696 | 39.375 | 40.729 | 0.00090696
STD |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | STD |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Ave. |  | 50 | 49.4577 | 143.0023 | 145.4167 | 145.8607 | 0.0032944 |  | Ave. |  | 50 | 49.7447 | 57.0979 | 49.7917 | 50.2507 | 0.0011318
STD |  |  | 0.018339 | 0.91477 | 0.72169 | 0.3361 | 3.2e-06 |  | STD |  |  | 0.10259 | 2.4226 | 1.413 | 0.47828 | 1.0995e-05

## 0 um (bug)
| ONOSOKKI | Optical Comb
1 | -0.34126 | 4.5102
2 | -0.26182 | 4.3957
3 | -0.24546 | 4.3025
4 | -0.21083 | 4.3806
5 | -0.10876 | 4.2163
6 | -0.20298 | 4.1854
7 | -0.3014 | 4.2399
8 | -0.36733 | 4.1883
9 | -0.38157 | 4.1797
10 | -0.44871 | 4.3537
STD | 0.10094 | 0.11216
AVE | -0.28701 | 4.2952

## 0 um
| ONOSOKKI | Optical Comb (Low path)[um] | Optical Comb ( No Low path )[um] | Optical Comb (Ave. LP) [um] | Optical Comb Time diff. (sec)
1 | -0.34126 | 90.2039 | 96.25 | 95.9455 | 0.0021768
2 | -0.26182 | 87.9139 | 97.5 | 95.116 | 0.0021744
3 | -0.24546 | 86.0491 | 95 | 95.864 | 0.0021544
4 | -0.21083 | 87.6128 | 97.5 | 95.2975 | 0.002168
5 | -0.10876 | 84.3256 | 95 | 95.323 | 0.0021488
6 | -0.20298 | 83.7079 | 95 | 96.2525 | 0.0021592
7 | -0.3014 | 84.7972 | 96.25 | 95.5115 | 0.002148
8 | -0.36733 | 83.765 | 95 | 95.499 | 0.0021744
9 | -0.38157 | 83.5942 | 93.75 | 95.603 | 0.0021608
10 | -0.44871 | 87.0749 | 95 | 95.688 | 0.0021616
STD | 0.10094 | 2.2433 | 1.2148 | 0.34028 | 1.0519e-05 | 0.41785
AVE | -0.28701 | 85.9044 | 95.625 | 95.61 | 0.0021626 | 39722.0296

## 10 um
| ONOSOKKI | Optical Comb (Low path) | Optical Comb ( No Low path ) | Optical Comb (Ave. LP) [um] | Optical Comb Time diff. (sec)
1 | 9.5044 | 106.244 | 105 | 105.231 | 0.002376
2 | 9.4669 | 105.991 | 103.75 | 105.413 | 0.00238
3 | 9.4478 | 106.563 | 103.75 | 106.173 | 0.0023904
4 | 9.3586 | 106.623 | 107.5 | 106.006 | 0.0023824
5 | 9.4254 | 107.035 | 108.75 | 106.54 | 0.002388
6 | 9.4295 | 106.076 | 107.5 | 105.729 | 0.002384
7 | 9.4396 | 106.569 | 106.25 | 105.825 | 0.0023824
8 | 9.3582 | 106.701 | 103.75 | 105.35 | 0.0023832
9 | 9.3901 | 106.717 | 105 | 106.243 | 0.0023912
10 | failed | failed | failed | failed | failed
STD | 0.048605 | 0.33577 | 1.8865 | 0.44671 | 4.9279e-06 | 0.22013
AVE | 9.4245 | 106.5021 | 105.6944 | 105.8344 | 0.0023842 | 44670.3732

## 20 um
| ONOSOKKI | Optical Comb (Low path) | Optical Comb ( No Low path ) | Optical Comb (Ave. LP) [um] | Optical Comb Time diff. (sec)
1 | failed | failed | failed | failed | failed
2 | failed | failed | failed | failed | failed
3 | failed | failed | failed | failed | failed
4 | failed | failed | failed | failed | failed
5 | 19.4437 | 104.02 | 116.25 | 116.485 | 0.0026208
6 | 19.43 | 103.823 | 116.25 | 115.55 | 0.0026232
7 | 19.4921 | 105.39 | 115 | 116.025 | 0.0026136
8 | failed | failed | failed | failed | failed
9 | 19.516 | 107.004 | 117.5 | 116.591 | 0.0026064
10 | 19.5799 | 106.397 | 118.75 | 116.259 | 0.0026104
STD | 0.060164 | 1.4081 | 1.4252 | 0.41506 | 7.0336e-06 | 0.28331 | 0.31404
AVE | 19.4923 | 105.3268 | 116.75 | 116.182 | 0.0026149 | 40279.7834 | 44648.3204

## 30 um
| ONOSOKKI | Optical Comb (Low path) | Optical Comb ( No Low path ) | Optical Comb (Ave. LP) [um] | Optical Comb Time diff. (sec)
1 | failed | failed | failed | failed | failed
2 | 29.5966 | 114.543 | 123.75 | 125.568 | 0.0028392
3 | failed | failed | failed | failed | failed
4 | failed | failed | failed | failed | failed
5 | failed | failed | failed | failed | failed
6 | failed | failed | failed | failed | failed
7 | 29.4255 | 110.05 | 125 | 125.331 | 0.002844
8 | 29.3555 | 109.893 | 123.75 | 125.861 | 0.0028416
9 | 29.3786 | 110.185 | 127.5 | 125.757 | 0.0028384
10 | failed | failed | failed | failed | failed
STD | 0.109 | 2.2533 | 1.7678 | 0.2329 | 2.5298e-06 | 0.09898 | 0.1113
AVE | 29.4391 | 111.1677 | 125 | 125.6292 | 0.0028413 | 39125.2053 | 43993.4303

## 40 um
| ONOSOKKI | Optical Comb (Low path) | Optical Comb ( No Low path ) | Optical Comb (Ave. LP) [um] | Optical Comb Time diff. (sec)
1 | failed | failed | failed | failed | failed
2 | 39.3451 | 133.274 | 135 | 136.339 | 0.0030696
3 | failed | failed | failed | failed | failed
4 | failed | failed | failed | failed | failed
5 | failed | failed | failed | failed | failed
6 | failed | failed | failed | failed | failed
7 | failed | failed | failed | failed | failed
8 | failed | failed | failed | failed | failed
9 | failed | failed | failed | failed | failed
10 | failed | failed | failed | failed | failed
STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
AVE | 39.3451 | 133.274 | 135 | 136.339 | 0.0030696 | 43417.3834 | 43979.6716

## 50 um
| ONOSOKKI | Optical Comb (Low path) | Optical Comb ( No Low path ) | Optical Comb (Ave. LP) [um] | Optical Comb Time diff. (sec)
1 | faied | faied | faied | failed | faied
2 | faied | faied | faied | failed | faied
3 | faied | faied | faied | failed | faied
4 | faied | faied | faied | failed | faied
5 | faied | faied | faied | failed | faied
6 | faied | faied | faied | failed | faied
7 | 49.4487 | 143.952 | 146.25 | 146.246 | 0.0032912
8 | 49.4456 | 142.928 | 145 | 145.708 | 0.0032944
9 | failed | failed | failed | failed | failed
10 | 49.4788 | 142.127 | 145 | 145.628 | 0.0032976
STD | 0.018339 | 0.91477 | 0.72169 | 0.3361 | 3.2e-06 | 0.1389 | 0.14125
AVE | 49.4577 | 143.0023 | 145.4167 | 145.8607 | 0.0032944 | 43407.702 | 44140.5618